## Slide 1: High Flux Backscattering Spectrometer (HFBS)
Methyl Group Dynamics in Fluorotoluene
Group 1

## Slide 2
￼
Rotational Energy of Methyl Group
Tunneling energy as a function of barrier energy
How do we observe the quantum tunneling of the methyl group?
Motivation
Monoclinic crystal formation at right conditions

## Slide 3
Why High Flux Backscattering?
Dynamic Range:
10 ns ~ 0.1 ns
25 Å ~ 3.6 Å
vanishes!
High energy resolution (1 μeV)
i)
iii)
ii)
Increases effective flux at sample almost 4 times

## Slide 4
Backscattering for Neutrons
Cold source
Detectors
Sample
PST
Monochromator
reflects only 6.27 Å
Analyzers
reflect only 6.27 Å
Velocity selector
scatters different
Q
E
no energy transfer yet

## Slide 5: Fixed window scans
liquid-solid transition
Quick overview of motions present in the system
Liquid-solid transition observed
Additional motions observed at much lower T

## Slide 6: QENS
Elastic
Quasielastic
Inelastic
Energy
Intensity
Dynamic Range
Elastic
Inelastic
Analyzers reflect 6.27 Å
Detectors
Sample
PST
Monochromator
Velocity
selector

## Slide 7: Data analysis

## Slide 8: Temperature Dependence of Dynamics
Rotational tunneling to rotational jump diffusion
Quantum to classical transition
Coupling between methyl groups and phonons
E [μeV]
S (E) [a.u.]

## Slide 9
Arrhenius Equation Fit
9
Chart: Activation Energy for Shift to Tunneling Energy
| 50 | 44.44444 | 40 | 36.363636362999998 | 33.333300000000001
 | 0.15836 | 0.36173 | 0.56585 | 0.70757 | 0.82282
Line 2 | -0.37675 | -0.13077
Chart: Activation Energy for Width Broadening
| 57.142800000000001 | 50 | 44.44444 | 40 | 36.363636362999998 | 33.333300000000001
 | -0.60033 | -0.383 | -0.12321 | 0.14799 | 0.3092 | 0.50325
 | -0.79317 | -0.64975 | -0.60033
 | Ea (meV) (Peak Shift) | Ea (meV) (Width Shift)
High T | 7.4 | 9.4
Low T | 7.64 | 10.3
Phonon Energy States
Ground state to first energy state transition ~ 12.3 meV
E (meV)

## Slide 10
Acknowledgements
Timothy Prisk
Madhusudan Tyagi
Entire Summer School Team
Yamali Hernandez
Alex Grutter

## Slide 11: High Flux Backscattering Spectrometer (HFBS)
Methyl Group Dynamics in Fluorotoluene
Group 1