## Sheet1
NG7 - 7 Position Heating Block (7H) Temperature Test (8/19/03)
Temp. Equilibration Time ~ 2 hours
Sample Block Lid is ON
Sample Chamber Lid is OFF
| Cell Temp | *Temp
Set Temp (deg C) | (deg C) | Diff (deg C)
50 | 49.63 | 0.37
75 | 75.53 | 0.53
100 | 100.69 | 0.69
125 | 126.05 | 1.05
150 | 151.4 | 1.4
175 | 176.6 | 1.6
200 | 201.8 | 1.8
Cell Temp was recorded by using a demountable cell with an embedded RTD connected to an Omega Temperature
Indicator. The cell was placed in position 4. The temperature difference was also tested across the block at 200 C
and 150 C at positions 1, 4 and 7. There was less than a 2 deg C difference.
Temp Error ~ +/- 1 deg C
* Cell Temperature - Set Temperature